## Sheet1
Analysis of Spectrum from MRS | [12 empty] | t(.025)
Estimate relationship between Wavelength and pixel position | [12 empty] | 12.2076
Calculate unknown wavelength from pixel position. | [5 empty] | MRS - Classical Spectrograph | [6 empty] | 4.303
Reference: Probability and Statistics for Engineers and Scientists, by Walpole & Myers, Macmillan 1972 | [12 empty] | 3.182
|  |  | 1200 |  | 6.42 |  | 55 |  | 35 |  |  |  | 2.776 | 4.303
554Alpha Ori - Betelguese | [12 empty] | 2.571
|  |  | Lamda 0 |  | C Theoretical | Order 0 | Alpha 0 |  | Beta 0 | Dispersion 0 |  |  | 2.447
|  |  | 5200 |  | 0.97273 | 1 | 36.5953 |  | 1.5953 | 0.97235 |  |  | 2.365
[7 empty] | 0.59616 |  | 0.99961 |  |  |  | 2.306
[6 empty] | Dispersion | [6 empty] | 2.262
Known Line | Lamda | Order (k) | SIN(Beta) | Beta | Cos(Beta) | C.Cos(Beta) |  | Lam/(c*Cos(beta)) | X |  |  | X^2 |  | X'( column I) | X'()^2 | X'.X | Estimated X'
X'
H Beta | 4861.3 | 1 | -0.012804 | -0.73361 | 0.99992 | 0.97265 |  | 4998.0078 | 1196 |  |  | 1430416 |  | 4998.0078 | 24980082.1264 | 5977617.3476 | 4998.0217
Mg1 | 5167.3 | 1 | 0.023916 | 1.3704 | 0.99971 | 0.97245 |  | 5313.6975 | 872 |  |  | 760384 |  | 5313.6975 | 28235380.9893 | 4633544.2091 | 5313.457
Mg2 | 5172.7 | 1 | 0.024564 | 1.4076 | 0.9997 | 0.97243 |  | 5319.3341 | 866 |  |  | 749956 |  | 5319.3341 | 28295315.0668 | 4606543.3143 | 5319.2984
Mg3 | 5183.6 | 1 | 0.025872 | 1.4825 | 0.99967 | 0.9724 |  | 5330.719 | 854 |  |  | 729316 |  | 5330.719 | 28416565.2405 | 4552434.0407 | 5330.9812
[7 empty] | Sums |  | 3788 |  |  | 3670072 |  | 20961.7584 | 109927343.4229 | 19770138.9118
No. of lines | 4 | [5 empty] | Averages |  | 947 |  |  |  |  | 5240.4396
|  |  | Linear Regression | [9 empty] | W&M,p283 | $$ See Walpole&Myers , p286 $$ |  |  |  | W&M,p287
|  |  |  | Sxx | [8 empty] | b | Syy | Sxy | SSE | s | 95%CI 0n slope
|  |  |  | 82836 | [6 empty] | slope |  | -0.97357 | 78514.6004 | -80646.2946 | 0.12803 | 0.25301 | 0.0037827
[7 empty] | 3 |  |  |  | X0 | a | 6162.4064
[14 empty] | -1 | Correlation coeff,W&M p301
Unknown lines | [7 empty] | W&M, p290
Order | X |  | Estimated X' | C' | D | SIN(Beta) | Estimated Lamda | 95%CI on X' | C' | D | SIN(Beta) | Upper Lamda | C' | D | SIN(Beta) | Lower Lamda
1 | 872 | Mg1 | 5313.457 | 0.62023 | 0.62924 | 0.023889 | 5167.0696 | 0.61385 | 0.6203 | 0.62934 | 0.023959 | 5167.6578 | 0.62015 | 0.62914 | 0.023818 | 5166.4814
1 | 866 | Mg | 5319.2984 | 0.62091 | 0.63019 | 0.02456 | 5172.6659 | 0.34333 | 0.62095 | 0.63024 | 0.0246 | 5172.9947 | 0.62087 | 0.63013 | 0.024521 | 5172.337
1 | 854 | Mg | 5330.9812 | 0.62227 | 0.63209 | 0.025902 | 5183.8509 | 0.35623 | 0.62231 | 0.63215 | 0.025943 | 5184.1918 | 0.62223 | 0.63203 | 0.025862 | 5183.51
1 | 1196 | HBeta | 4998.0217 | 0.58341 | 0.579 | -0.012802 | 4861.3136 | 0.59792 | 0.58348 | 0.57909 | -0.012732 | 4861.8996 | 0.58334 | 0.57891 | -0.012872 | 4860.7277
1 | 1227 | Dark | 4967.8412 | 0.57988 | 0.57431 | -0.016355 | 4831.7083 | 0.65452 | 0.57996 | 0.57441 | -0.016277 | 4832.351 | 0.57981 | 0.5742 | -0.016432 | 4831.0656
1 | 1251 | smudge | 4944.4756 | 0.57716 | 0.57068 | -0.01911 | 4808.748 | 0.69927 | 0.57724 | 0.57079 | -0.019027 | 4809.4356 | 0.57707 | 0.57058 | -0.019192 | 4808.0603
1 | 1264 | double | 4931.8192 | 0.57568 | 0.56873 | -0.020604 | 4796.2967 | 0.72379 | 0.57576 | 0.56884 | -0.020519 | 4797.009 | 0.57559 | 0.56862 | -0.020689 | 4795.5843
1 | 1277 | smudge | 4919.1629 | 0.5742 | 0.56677 | -0.022099 | 4783.8353 | 0.74848 | 0.57429 | 0.56689 | -0.022011 | 4784.5725 | 0.57411 | 0.56666 | -0.022188 | 4783.098
1 | 1296 |  | 4900.6651 | 0.57204 | 0.56393 | -0.024287 | 4765.6045 | 0.78485 | 0.57213 | 0.56405 | -0.024194 | 4766.3785 | 0.57195 | 0.5638 | -0.02438 | 4764.8305
1 | 1186 | double | 5007.7574 | 0.58454 | 0.58052 | -0.011657 | 4870.8512 | 0.58001 | 0.58461 | 0.58061 | -0.011589 | 4871.4192 | 0.58447 | 0.58043 | -0.011726 | 4870.2831
1 | 1174 | treble1 | 5019.4402 | 0.58591 | 0.58234 | -0.010285 | 4882.2881 | 0.55879 | 0.58597 | 0.58243 | -0.010219 | 4882.8349 | 0.58584 | 0.58226 | -0.010351 | 4881.7413
1 | 1169 | treble2 | 5024.308 | 0.58647 | 0.58311 | -0.0097135 | 4887.0508 | 0.55004 | 0.58654 | 0.58319 | -0.0096489 | 4887.5889 | 0.58641 | 0.58302 | -0.0097781 | 4886.5128
1 | 1164 | treble3 | 5029.1758 | 0.58704 | 0.58387 | -0.0091422 | 4891.812 | 0.54134 | 0.58711 | 0.58395 | -0.0090786 | 4892.3414 | 0.58698 | 0.58378 | -0.0092057 | 4891.2826
1 | 1154 | double | 5038.9115 | 0.58818 | 0.58539 | -0.008 | 4901.3298 | 0.52414 | 0.58824 | 0.58547 | -0.0079386 | 4901.842 | 0.58812 | 0.58531 | -0.0080615 | 4900.8175
1 | 1145 | double1 | 5047.6736 | 0.5892 | 0.58677 | -0.0069728 | 4909.8904 | 0.50889 | 0.58926 | 0.58685 | -0.0069131 | 4910.3874 | 0.58914 | 0.58669 | -0.0070324 | 4909.3933
1 | 1142 | double2 | 5050.5943 | 0.58954 | 0.58722 | -0.0066305 | 4912.7428 | 0.50386 | 0.5896 | 0.5873 | -0.0065714 | 4913.2348 | 0.58948 | 0.58715 | -0.0066895 | 4912.2508
1 | 1134 | double/dark | 5058.3828 | 0.59045 | 0.58845 | -0.005718 | 4920.3465 | 0.49058 | 0.59051 | 0.58853 | -0.0056606 | 4920.8253 | 0.59039 | 0.58837 | -0.0057755 | 4919.8677
1 | 1114 | double/dark | 5077.8541 | 0.59272 | 0.59151 | -0.0034391 | 4939.338 | 0.45833 | 0.59278 | 0.59158 | -0.0033855 | 4939.7847 | 0.59267 | 0.59144 | -0.0034927 | 4938.8912
1 | 1095 | Dark | 5096.3519 | 0.59488 | 0.59443 | -0.0012768 | 4957.3564 | 0.42918 | 0.59493 | 0.5945 | -0.0012267 | 4957.7742 | 0.59483 | 0.59436 | -0.001327 | 4956.9386
1 | 1084 |  | 5107.0611 | 0.59613 | 0.59612 | -2.6303e-05 | 4967.7776 | 0.41309 | 0.59618 | 0.59619 | 2.1916e-05 | 4968.1794 | 0.59609 | 0.59606 | -7.4523e-05 | 4967.3758
1 | 1068 |  | 5122.6381 | 0.59795 | 0.59859 | 0.001791 | 4982.9218 | 0.39089 | 0.598 | 0.59865 | 0.0018366 | 4983.3017 | 0.59791 | 0.59853 | 0.0017454 | 4982.542
1 | 1035 | dark | 5154.7658 | 0.6017 | 0.6037 | 0.0055329 | 5014.1045 | 0.35069 | 0.60174 | 0.60375 | 0.0055737 | 5014.4445 | 0.60166 | 0.60364 | 0.0054921 | 5013.7645
1 | 1005 | double/dark | 5183.9728 | 0.60511 | 0.60836 | 0.0089273 | 5042.3908 | 0.32257 | 0.60515 | 0.60841 | 0.0089647 | 5042.7028 | 0.60507 | 0.6083 | 0.0088898 | 5042.0787
1 | 995 | smudge | 5193.7084 | 0.60625 | 0.60991 | 0.010057 | 5051.8063 | 0.31539 | 0.60628 | 0.60996 | 0.010094 | 5052.1113 | 0.60621 | 0.60986 | 0.010021 | 5051.5014
1 | 981 | dark | 5207.3384 | 0.60784 | 0.6121 | 0.011638 | 5064.977 | 0.30743 | 0.60787 | 0.61215 | 0.011673 | 5065.2739 | 0.6078 | 0.61205 | 0.011602 | 5064.6801
1 | 965 | dark | 5222.9154 | 0.60966 | 0.6146 | 0.013442 | 5080.0133 | 0.30152 | 0.60969 | 0.61465 | 0.013477 | 5080.3041 | 0.60962 | 0.61455 | 0.013407 | 5079.7224
1 | 934 |  | 5253.096 | 0.61318 | 0.61946 | 0.016932 | 5109.0972 | 0.30041 | 0.61321 | 0.61951 | 0.016967 | 5109.3863 | 0.61314 | 0.61941 | 0.016897 | 5108.808
1 | 918 | double | 5268.673 | 0.615 | 0.62197 | 0.01873 | 5124.0829 | 0.3052 | 0.61503 | 0.62202 | 0.018766 | 5124.3763 | 0.61496 | 0.62192 | 0.018695 | 5123.7894
1 | 846 |  | 5338.7697 | 0.62318 | 0.63336 | 0.026797 | 5191.3021 | 0.36552 | 0.62322 | 0.63342 | 0.026839 | 5191.6517 | 0.62314 | 0.6333 | 0.026755 | 5190.9525
1 | 832 |  | 5352.3997 | 0.62477 | 0.63559 | 0.02836 | 5204.331 | 0.38299 | 0.62482 | 0.63565 | 0.028404 | 5204.6969 | 0.62473 | 0.63553 | 0.028316 | 5203.965
1 | 811 |  | 5372.8445 | 0.62716 | 0.63894 | 0.030702 | 5223.8486 | 0.41166 | 0.62721 | 0.63901 | 0.030749 | 5224.2413 | 0.62711 | 0.63887 | 0.030655 | 5223.4559
1 | 788 | double1 | 5395.2366 | 0.62977 | 0.64262 | 0.033263 | 5245.1896 | 0.44586 | 0.62982 | 0.64269 | 0.033314 | 5245.6142 | 0.62972 | 0.64254 | 0.033212 | 5244.765
1 | 783 | double2 | 5400.1044 | 0.63034 | 0.64342 | 0.033819 | 5249.824 | 0.45362 | 0.63039 | 0.64349 | 0.033871 | 5250.2558 | 0.63029 | 0.64334 | 0.033767 | 5249.3922
1 | 764 | dark | 5418.6021 | 0.6325 | 0.64646 | 0.035931 | 5267.4186 | 0.48401 | 0.63256 | 0.64654 | 0.035986 | 5267.8787 | 0.63244 | 0.64638 | 0.035875 | 5266.9586
1 | 736 |  | 5445.862 | 0.63568 | 0.65097 | 0.039036 | 5293.3008 | 0.53099 | 0.63574 | 0.65106 | 0.039097 | 5293.8044 | 0.63562 | 0.65088 | 0.038976 | 5292.7971
1 | 702 |  | 5478.9632 | 0.63954 | 0.65646 | 0.042799 | 5324.6536 | 0.59074 | 0.63961 | 0.65656 | 0.042866 | 5325.2123 | 0.63948 | 0.65637 | 0.042732 | 5324.0947
1 | 657 |  | 5522.7737 | 0.64466 | 0.66377 | 0.047763 | 5366.0213 | 0.67308 | 0.64474 | 0.66388 | 0.047839 | 5366.6557 | 0.64458 | 0.66366 | 0.047687 | 5365.3869
1 | 630 |  | 5549.06 | 0.64773 | 0.66818 | 0.050733 | 5390.7711 | 0.72379 | 0.64781 | 0.6683 | 0.050815 | 5391.4518 | 0.64764 | 0.66806 | 0.050651 | 5390.0903
1 | 620 | double | 5558.7956 | 0.64886 | 0.66981 | 0.051831 | 5399.924 | 0.74277 | 0.64895 | 0.66994 | 0.051915 | 5400.6221 | 0.64878 | 0.66969 | 0.051748 | 5399.226
1 | 548 | double | 5628.8923 | 0.65705 | 0.68165 | 0.059713 | 5465.6067 | 0.88185 | 0.65715 | 0.6818 | 0.059812 | 5466.4306 | 0.65694 | 0.6815 | 0.059614 | 5464.7828
1 | 364 |  | 5808.0284 | 0.67796 | 0.71241 | 0.079642 | 5631.6817 | 1.2485 | 0.6781 | 0.71262 | 0.07978 | 5632.83 | 0.67781 | 0.71219 | 0.079504 | 5630.5333
1 | 341 |  | 5830.4205 | 0.68057 | 0.7163 | 0.082111 | 5652.2576 | 1.2949 | 0.68072 | 0.71653 | 0.082254 | 5653.4462 | 0.68042 | 0.71608 | 0.081969 | 5651.0688
1 | 568 |  | 5609.421 | 0.65477 | 0.67835 | 0.057528 | 5447.4002 | 0.84285 | 0.65487 | 0.67849 | 0.057623 | 5448.189 | 0.65467 | 0.67821 | 0.057434 | 5446.6115